2021 Annual Drinking Water Quality Report

Reserve Community Development District

We are very pleased to provide you with this year's Annual Water Quality Report.  We want to keep you informed about the excellent water and services we have delivered to you over the past year.  Our goal is and always has been, to provide to you a safe and dependable supply of drinking water.  Our water source is ground water from wells.  The wells draw from the Surficial Aquifer.  We also purchase water from St. Lucie West which draws its well water from the Floridan Aquifer.

The Reserve water treatment plant is a lime softening plant.  Raw water from 3 wells around the property is pumped to an aeration unit for degasification.  Then the water goes to a solid’s contact tank where lime and polymer are fed to remove minerals from the water making it softer.  This treated water is then passed through a sand and carbon filter.  Chlorine and ammonia disinfectants are added after the filter.  Then the water is stored in holding tanks and blended with reverse osmosis water that is purchased from St. Lucie West Services District prior to distribution.

In 2021 the Department of Environmental Protection performed a Source Water Assessment on our system.  The assessment was conducted to provide information about any potential sources of contamination in the vicinity of our wells. There are two potential sources of contamination identified for this system with low susceptibility levels. More information on source water assessments can be found at www.dep.state.fl.us/swapp .

We are pleased to report that our drinking water meets all federal and state requirements.  If you have any questions about this report or concerning your water utility, or want to obtain a copy of this report, please contact Rick Riniolo at (772) 464-1224. We want our valued customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled meetings. Meetings are held monthly at the Reserve CDD office, located at 2160 Reserve Park Trace, Port St. Lucie, FL. 34986. Please call (772) 468-4604 to get exact date and time of the meetings.

Reserve Community Development District routinely monitors for contaminants in your drinking water according to Federal and State laws, rules, and regulations. Except where indicated otherwise, this report is based on the results of our monitoring for the period of January 1st to December 31st, 2021.  Data obtained before January 1, 2021 and presented in this report are from the most recent testing done in accordance with the laws, rules, and regulation.

In the table below, you may find unfamiliar terms and abbreviations.  To help you better understand these terms we have the following definitions:

Maximum Contaminant Level or MCL: The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal or MCLG: The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Action Level (AL):  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

Maximum residual disinfectant level or MRDL:  The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum residual disinfectant level goal or MRDLG:  The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLG do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Parts per million (ppm) or Milligrams per liter (mg/l) – one part by weight of analyte to 1 million parts by weight of the water sample.

Parts per billion (ppb) or Micrograms per liter (µg/l) – one part by weight of analyte to 1 billion parts by weight of the water sample.

Picocurie per liter (pCi/L): measure of radioactivity in water.

Locational Running Annual Average (LRAA): the average of sample analytical results for samples taken at a particular monitoring location during the previous four calendar quarters.

| ** Results in the Level Detected column for radiological contaminants, inorganic contaminants, synthetic organic contaminants including pesticides and herbicides, and volatile organic contaminants are the highest average at any of the sampling points or the highest detected level at any sampling point, depending on the sampling frequency. Inorganic Contaminants |
| --- |
| Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) | MCL Violation Y/N | Level Detected | Range of results | MCLG | MCL | Likely Source of Contamination |
| Fluoride (ppm) | 04/20 | N | 0.65 | N/A | 4 | 4.0 | Erosion of natural deposits; discharge from fertilizer and aluminum factories. Water additive which promotes strong teeth when at optimum levels between 0.7 and 1.3 ppm |
| Sodium (ppm) | 04/20 | N | 52.0 | N/A | N/A | 160 | Saltwater intrusion, leaching from soil |
| Barium (ppm) | 04/20 | N | 0.0027 | N/A | 2 | 2 | Discharge of drilling wastes; discharge from metal refineries, erosion of natural deposits |

| Lead and Copper (Tap Water) |
| --- |
| Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) | AL Violation Y/N | 90th Percentile Result | No. of sampling sites exceeding the AL | MCLG | AL (Action Level) | Likely Source of Contamination |
| Copper (tap water) (ppm) | 07/20 | N | 0.062 | 0 | 1.3 | 1.3 | Corrosion of household plumbing systems |
| Lead (tap water) (ppb) | 07/20 | N | 1.0 | 0 | 0 | 15 | Corrosion of household plumbing systems |

| Stage 1 Disinfectant/Disinfection By-Product (D/DBP) Contaminants |
| --- |
| For bromated, chloramines, or chlorides, the level detected is the highest running annual average (RAA), computed quarterly, of monthly averages of all samples collected. The range of results is the range of results of all individual samples collected during the past year. |
| Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) | MCL Violation Y/N | Level Detected | Range of Results | MCLG or MRDLG | MCL or MRDL | Likely Source of Contamination |
| Chloramines (ppm) | 01-12 2021 | N | 1.85 | 1.1-3.0 | MRDLG = 4 | MRDL = 4.0 | Water additive used to control microbes |

| Stage 2 Disinfectant/Disinfection By-Product (D/DBP) Contaminants |
| --- |
| For the following contaminants monitored under Stage 2 D/DBP regulations, the level detected is the highest locational running annual average (LRAA)The range of results is the range of results of all the individual samples collected during the year. |
| Contaminants and Unit of Measurement | Dates of sampling (mo./yr.) | MCL Violation Y/N | Level Detected | Range of Results | MCLG | M MCL or MRDL | Likely source of Contaminants |
| Haloacetic Acids (five) (HAA5) (ppb) | 9/20 | N | 15.3 | 14.1-15.3 | NA | MCL = 60 | By-product of drinking water disinfection |
| TTHM [Total trihalomethanes] (ppb) | 9/20 | N | 23.0 | 19.3-23.0 | NA | MCL = 80 | By-product of drinking water disinfection |

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Reserve Community Development District is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

(A)	Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

(B)	Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

(C)	Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

(D)	Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

(E)	Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

To ensure that tap water is safe to drink, the EPA prescribes regulations, which limit the amounts of certain contaminants in water provided by public water systems.  The Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).